## Slide 1: Transfer
Adam’s master plan

## Slide 2: Report Plan – High Level Overview
Intro
Literature Review
Current work
Future Work
References

## Slide 3: Report Plan – Intro
Motivation:
lots of Strokes
limited access to rehab
Current MyPAM :
What is MyPAM, History of MyPAM
Overview of system architecture
Current limitations
Q – how much detail? Should I have a separate section later on with the majority of the detail?

## Slide 4: Report Plan – Current Work
Admittance Control :
Coded an admittance control algorithm. It requires testing and validation, currently waiting on the force sensor.
Force Sensor :
Designed a low cost integrated force sensor/handle.
Requires calibration, testing and validation (a FEA model will be useful - still to do).
Trajectory generation :
Designed the trajectory by minimising the function : where L is formed by solving the Euler-Lagrange equation.
Lots of maths led to an equation for a trajectory which is easily found and cited from elsewhere.

## Slide 5: Report Plan – Future Work
Architecture redesign and refactor – to be based on the meeting with Justin later on.
Impedance Control
Admittance Control – should be done by transfer
Force Sensor – Should be done by transfer
Test and comparison of control stratagies